SAFE@WORK

GENERAL AREAS INSPECTION CHECKLIST

| Inspection Team Members: |  |
| --- | --- |
| Room No(s): |  | Supervisor: |  | Inspection Date: |  |

Instructions:

- Boxes to be marked ticked () as items are sighted or with a cross(x) if not present.  Otherwise NA indicates the item is not applicable to this laboratory.  Any question marked with a cross requires a corrective action.

- Any corrective actions which cannot be immediately resolved are to be entered into the SafetyNet Hazard-Incident Report Form at the completion of the inspection to assess the risk and determine appropriate controls, responsibilities and time frames.

- If the corrective action is immediately completed please write “Completed” in the column with the heading “SAFETYNET REF.NO”.

- If a maintenance number has been identified please enter the BEIMS number in the column with the heading “SAFETYNET REF.NO”.

| Criteria |  | X | NA | Corrective Action | SafetyNet Ref. No. |
| --- | --- | --- | --- | --- | --- |
| Work Environment |  |
| The general area is tidy and free of obstruction and mess. |  |  |  |  |  |
| Spaces between and under benches, cabinets and equipment are accessible for cleaning. |  |  |  |  |  |
| Walkways/floor areas are clear of obstructions and trip hazards (e.g. electrical cords). |  |  |  |  |  |
| Floor surfaces/coverings are even, not slippery and are in good condition. |  |  |  |  |  |
| Stair treads are in good condition (no worn or broken treads). |  |  |  |  |  |
| Handrails present, secure, and in good condition. |  |  |  |  |  |
| Landings are clear of obstruction. |  |  |  |  |  |
| Lighting adequate and operational |  |  |  |  |  |
| Temperature is comfortable |  |  |  |  |  |
| Area is free from odours |  |  |  |  |  |
| Noise level is acceptable or controlled to an adequate level |  |  |  |  |  |
| Ventilation is adequate |  |  |  |  |  |
| Signage |  |
| First aid signage is visible and contains details of first aid officers for the area. |  |  |  |  |  |
| An Emergency Evacuation Diagram (from FMD) is located in the near vicinity and is clearly displayed. |  |  |  |  |  |
| Exit signs are in place and illuminated. |  |  |  |  |  |
| Building warden signage is visible and contains details of building wardens for the area. |  |  |  |  |  |
| Emergency Requirements |  |
| Exit doors are marked, clearly visible and can be opened from inside (no pad-locks). |  |  |  |  |  |
| Exit corridors are clear of obstructions (including outside of the building). |  |  |  |  |  |
| A first aid kit is located in the near vicinity. |  |  |  |  |  |
| Fire equipment (fire blanket, extinguisher, hose reel) is accessible and clear of obstruction. |  |  |  |  |  |
| Fire equipment (fire blanket, extinguisher, hose reel) have been inspected/tagged within the last 6 months. |  |  |  |  |  |
| Overhead sprinklers and detectors are clear of obstruction. |  |  |  |  |  |
| Electrical |  |
| Electrical equipment tested, tagged and in date. |  |  |  |  |  |
| All power leads, outlets and switches are in good condition (not broken). |  |  |  |  |  |
| Extension leads / power boards are used as designed (no temporary or makeshift leads/power boards, double adaptors, overloading). |  |  |  |  |  |
| Hazardous Manual Tasks |  |
| Frequently used items within easy reach between knee and shoulder height, heavy items stored at waist height. |  |  |  |  |  |
| Step ladders or stools are accessible to access items stored on high shelves if required and are in good condition. |  |  |  |  |  |
| Materials handling equipment available for heavy or awkward items and loads |  |  |  |  |  |
| Personal Protective Equipment |  |
| PPE is available and in good condition. |  |  |  |  |  |
| PPE is stored appropriately. |  |  |  |  |  |
| Signage of PPE requirements displayed. |  |  |  |  |  |
| Chemical |  |
| Chemicals stored in appropriate containers. |  |  |  |  |  |
| Containers are labelled correctly (e.g. not handwritten, label contains minimum chemical name and GHS pictogram). |  |  |  |  |  |
| Chemicals are stored according to compatibility. Compatibility chart is readily available. |  |  |  |  |  |
| Dangerous goods cabinets are used and maintained in accordance with the relevant Australian Standard including: Self-closing and close fitting doors Locking automatically (flammable) Locking mechanism in 2 or more places (flammable/corrosive) Self-releasing locking mechanism (oxidizing agents and organic peroxides) Clearance from ignition/heat sources (flammable, oxidizing agents, organic peroxides) Bunding Ventilation Other specific requirements |  |  |  |  |  |
| Maximum volumes of chemicals in laboratory inventory has been checked (and recorded) against ChemAlert stock holdings in the past 12 months |  |  |  |  |  |
| There is bunding or spill trays for the storage of hazardous liquids. |  |  |  |  |  |
| Spill kits are available and maintained. |  |  |  |  |  |
| Refrigerators used to store flammable materials are intrinsically safe. |  |  |  |  |  |
| Refrigerators are suitably labeled (e.g. no food, no drink, no flammables, biohazard). |  |  |  |  |  |
| Segregated waste disposable containers are available and labelled correctly. |  |  |  |  |  |
| Materials that are subject to spontaneous combustion, such as oily rags and paint rags, placed in approved oily waste cans that are emptied daily. |  |  |  |  |  |
| Compressed Gas |  |
| Compressed gas cylinder contents are appropriately identified. |  |  |  |  |  |
| Cylinders are secured appropriately by bracket or chain. |  |  |  |  |  |
| All cylinders are at least 3m away from ignition sources, combustible material and are stored according to dangerous goods class with compatible gases. |  |  |  |  |  |
| Empty cylinders are separated from full cylinders and clearly labelled. |  |  |  |  |  |
| Appropriate resources (eg. cylinder trolley) are available for transporting gas cylinders. |  |  |  |  |  |
| The regulator is appropriate for the gas being used (e.g. stainless steel for corrosive gases, brass for non-corrosive gases). |  |  |  |  |  |
| Gas lines are labelled and free of leaks, kinks, signs of wear & tear. |  |  |  |  |  |
| Gas use is confined to areas with good local exhaust ventilation. |  |  |  |  |  |
| Cylinders, pipes and valves are protected from mechanical damage. |  |  |  |  |  |
| Common Teaching Area |  |
| Windows and blinds are in good condition. |  |  |  |  |  |
| There is no excess furniture that needs to be removed from the area. |  |  |  |  |  |
| Furniture is in good condition with no signs of damage. |  |  |  |  |  |
| Skirting boards adequately cover floor areas to contain leads. |  |  |  |  |  |
| An Emergency Evacuation Diagram (from FMD) is located the common teaching area. |  |  |  |  |  |
| Office |  |
| Office furniture is free of damage. |  |  |  |  |  |
| Material handling aids (ladders, stools) are available to access items stored on high shelves. |  |  |  |  |  |
| Manual handling aids are available if required. |  |  |  |  |  |
| Communications |  |
| Machines are adequately guarded / protected to prevent contact, entanglement or damage. |  |  |  |  |  |
| Devices are correctly labelled. |  |  |  |  |  |
| Cabling in the area is tidy. |  |  |  |  |  |
| Dust/ventilation systems are working as designed. |  |  |  |  |  |
| Kitchen/Food Preparation Areas |  |
| Drains (floor and sink) clear and free flowing |  |  |  |  |  |
| Taps free from drips |  |  |  |  |  |
| Fridge clean and operational |  |  |  |  |  |
| Microwaves are positioned at suitable height, are clean and are operational. |  |  |  |  |  |
| Oven/stove clean and operational |  |  |  |  |  |
| Area free from pests or evidence thereof |  |  |  |  |  |
| Bench work heights are appropriate. |  |  |  |  |  |
| All utensils, equipment and stock are stored adequately. |  |  |  |  |  |
| All cleaning products are stored separately from foodstuffs. |  |  |  |  |  |
| Other Comments: |  |